**Number of Tubewells lying Dysfunctional**

**90 Sh. PARDEEP CHAUDHRY (Kalka):**

Will the Urban Local Bodies Minister be pleased to state whether any new tubewells have been installed to boost the water supply in the Kalka/Pinjore Municipal Council areas during the last five years; if so, the details thereof togetherwith the number of tubewells lying dysfunctional at present?

**Dr. Kamal Gupta, Urban Local Bodies Minister, Haryana**

Sir,

To boost the water supply in the Kalka/Pinjore Municipal Council areas during the last five years, Public Health Engineering Department and Urban Local Bodies Department have installed the new tubewells as per details given below:

1. Public Health Engineering Department

| Sr.  No. | Location of tubewells | Number of tubewells | Whether functional / dysfunctional at present |
| --- | --- | --- | --- |
| 1. | Khera Basolan | 1 | Functional |
| 2. | Tagra Kali Ram | 1 | Functional |
| 3. | Tagra Nadi | 1 | Functional |
| 4. | Gidranwali | 1 | Functional |
| 5. | Tagra Hakimpur | 1 | Functional |
| 6. | Chankyapuri | 1 | Functional |
| 7. | Chandi Mandir Tanda | 1 | Functional |
| 8. | Rani Ka Bagh | 1 | Functional |
| 9. | Rathpur Office | 1 | Functional |
| 10. | Manakpur Devi Lal | 1 | Functional |
| 11. | Damdama | 1 | Functional |
| 12. | Shiv Shakti Colony | 1 | Functional |
| 13. | Majra Mehtab | 1 | Dysfunctional at present because the tubewell has been drilled in the year 2022, but no discharge found during development of tubewell. |
| 14. | Chandi-Mandir | 1 | Dysfunctional at present because of low discharge and muddy water. |

1. Urban Local Bodies Department

|  |  |  |  |
| --- | --- | --- | --- |
| Sr.  No. | Location of tubewells | Number of tubewells | Whether functional / dysfunctional at present |
| 1. | Village Lohgarh | 3 | Functional |

**BIi iM+s VîwcoSyksa dh la[;k**

**90 Jh iznhi pkS/kjh ¼dkydk½ %**

D;k 'kgjh LFkkuh; fudk; ea=h —i;k crk,axs fd D;k xr 5 o’kksZa ds nkSjku dkydk@fiatkSj uxj ifj’kn {ks=ksa esa ty vkiwfrZ dks c<+kus ds fy, dksbZ u, VîwcoSy yxk, x, gSa( ;fn gka] rks mldk C;kSjk D;k gS rFkk orZeku esa BIi iM+s VîwcoSyksa dh la[;k fdruh gS\

**Mk0 dey xqIrk] “kgjh LFkkuh; fudk; ea=h] gfj;k.kk**

lj]

fiNys ikap o’kksZa ds nkSjku dkydk@fiatkSj uxj ifj’kn {ks=ksa esa ty vkiwfrZ dks c<+kus ds fy,] tu LokLF; vfHk;kaf=dh foHkkx vkSj “kgjh LFkkuh; fudk; foHkkx }kjk uhps fn, x, fooj.k ds vuqlkj u, VîwcoSy LFkkfir fd, x, gSa %

d½ tu LokLF; vfHk;kaf=dh foHkkx

| Øe la[;k | VîwcoSyksa dk LFkku | VîwcoSyksa dh la[;k | VîwcoSy dh orZeku fLFkfr  ¼dk;Zjr @BIi ½ |
| --- | --- | --- | --- |
| 1- | [ksMk clksyu | 1 | dk;Zjr |
| 2- | Vxjk dyhjke | 1 | dk;Zjr |
| 3- | Vxjk unh | 1 | dk;Zjr |
| 4- | fxnjkaoyh | 1 | dk;Zjr |
| 5- | Vxjk gdheiqj | 1 | dk;Zjr |
| 6- | pk.kD;iqjh | 1 | dk;Zjr |
| 7- | paMh eafnj VkaMk | 1 | dk;Zjr |
| 8- | jkuh dk ckx | 1 | dk;Zjr |
| 9- | jFkiqj vkWfQl | 1 | dk;Zjr |
| 10- | ekudiqj nsohyky | 1 | dk;Zjr |
| 11- | nenek | 1 | dk;Zjr |
| 12- | f”ko “kfDr dkWyksuh | 1 | dk;Zjr |
| 13- | ektjk egrkc | 1 | orZeku esa BIi gS D;ksafd VîwcoSy o’kZ 2022 esa [kksnk x;k gS] ijarq VîwcoSy ds fodkl ds nkSjku dksbZ fMLpktZ ugha feykA |
| 14- | paMh&eafnj | 1 | de fMLpktZ vkSj xans ikuh ds dkj.k orZeku esa BIi gSA |

[k½ “kgjh LFkkuh; fudk; foHkkx

|  |  |  |  |
| --- | --- | --- | --- |
| Øe la[;k | VîwcoSyksa dk LFkku | VîwcoSyksa dh la[;k | VîwcoSy dh orZeku fLFkfr  ¼dk;Zjr @BIi ½ |
| 1- | xkao yksgx< | 3 | dk;Zjr |